## Sheet1
Pricing Form – Raised Floor (NOC Office)
Item No. | Description | Unit | Qty | Unit Price (EGP) | Total Price (EGP)
1 | Supply and install complete raised floor as per attached technical specifications. | m² | 702 |  | 0
Subtotal (Excluding VAT) |  |  |  | 0
VAT (14%) |  |  |  | 0
Total Amount in EGP (Including VAT) |  |  |  | 0
Notes:
1- All prices shall be quoted in EGP and must clearly include VAT.
2- The Supplier must perform a site survey at National Operating Center (NOC) in HSBC building Cornish Maadi, before installation and verify exact dimensions. Any discrepancy must be communicated prior to execution.
3 The Supplier shall submit: - As-built drawings. - Material certifications (fire rating, load test). - Manufacturer's O&M (Operation & Maintenance) manuals. - Cleaning and maintenance instructions.
4- Any Variation from the technical specifications must be clearly stated. Otherwise, the Supplier will be deemed to have fully accepted the requirements.

## Sheet2
Item No. | Description | Unit | Qty | Unit Price (EGP) | Total Price (EGP)
1 | Supply of Raised Floor Panels (1200 kg/m² load capacity) | m² | 700
2 | Supply of Steel Pedestal System | m² | 700
3 | Supply of Steel Stringer Grid System | m² | 700
4 | Installation, Leveling & Commissioning Works | LS | 1
5 | Supply & Installation of Ramps / Steps / Perimeter Trims | LS | 1
6 | Documentation Package & As-Built | LS | 1